## Sheet1
Well |  | MW-1S | MW-1S | MW-1M | MW-1M | MW-1D | MW-1D | MW-3S | MW-3S | MW-3M | MW-3M | MW-3D | MW-3D | MW-4S | MW-4S | MW-4M | MW-4M | MW-4D | MW-4D | MW-5S | MW-5S | MW-5M | MW-5M | MW-5D | MW-5D | MW-6S | MW-6M | MW-6D | MW-7S | MW-7M | MW-7D | MW-8S | MW-8S | MW-8M | MW-8M | MW-8D | MW-8D | MW-9S | MW-9S | MW-9M | MW-9M | MW-9D | MW-9D
Date |  | 2015-02-13 | 2015-04-09 | 2015-02-14 | 2015-04-09 | 2015-02-14 | 2015-04-09 | 2015-02-25 | 2015-04-10 | 2015-02-24 | 2015-04-10 | 2015-02-21 | 2015-04-10 | 2015-03-07 | 2015-04-02 | 2015-03-06 | 2015-04-02 | 2015-02-19 | 2015-04-02 | 2015-03-10 | 2015-04-02 | 2015-03-03 | 2015-04-02 | 2015-02-17 | 2015-04-02 | 2015-04-05 | 2015-04-04 | 2015-04-02 | 2015-08-03 | 2015-08-02 | 2015-08-09 | 2015-05-28 | 2015-06-23 | 2015-05-27 | 2015-06-23 | 2015-05-21 | 2015-06-23 | 2015-06-30 | 2015-07-28 | 2015-06-28 | 2015-07-28 | 2015-06-25 | 2015-07-28
CONSTITUENT | UNIT | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS | RESULTS
ALKALINITY, TOTAL (as CaCO3) | mg/L | 105 | 120 | 112 | 117 | 123 | 124 | 97 | 97 | 105 | 104 | 114 | 118 | 80 | 86 | 97 | 97 | 111 | 124 | 50 | 50 | 195 | 121 | 112 | 117 | 366 | 397 | 117 | 29 | 98 | 109 | 320 | 302 | 140 | 155 | 152 | 112 | 1051 | 1019 | 127 | 128 | 170 | 176
ALUMINUM, TOTAL | µg/L | ND | ND | ND | ND | ND | ND | 166 | 36 | 166 | 18 | ND | ND | ND | ND | ND | ND | ND | ND | 14 | 33 | ND | ND | ND | ND | ND | ND | ND | ND | 18 | ND | ND | ND | 292 | ND | 37 | 128 | 11 | ND | ND | ND | ND | ND
AMMONIA-N | mg/L | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
AMMONIA-N, DISSOLVED | mg/L | ND | * | ND | * | ND | * | ND | * | ND | * | ND | * | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.45 | 0.17 | ND | 0.08 | ND | ND | ND | ND | ND | ND | ND | ND | 2.83 | 2.86 | 0.12 | 0.17 | ND | 0.07
AMMONIA-NH3 (CALC) UN-IONIZED | ug/L | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
ARSENIC, TOTAL | µg/L | 43 | 30 | 41 | 33 | 46 | 34 | 34 | 27 | 37 | 34 | 44 | 39 | 15 | 14 | 21 | 22 | 40 | 30 | 4 | 3 | 2 | 3 | 4 | 3 | 16 | 5 | 3 | 1 | 4 | 41 | 1 | 1 | 28 | 24 | 1 | 11 | 11 | 12 | 39 | 35 | 2 | 2
BARIUM, DISSOLVED | µg/L | 68 | 63 | 61 | 63 | 141 | 143 | 97 | 91 | 79 | 66 | 162 | 157 | 92 | 107 | 104 | 104 | 166 | 176 | 173 | 200 | 96 | 67 | 562 | 466 | 105 | 155 | 255 | 199 | 282 | 110 | 57 | 75 | 154 | 119 | 88 | 178 | 315 | 273 | 163 | 141 | 59 | 48
BICARBONATE (AS HCO3-) | mg/L | 128 | 146 | 137 | 143 | 150 | 151 | 118 | 118 | 128 | 127 | 139 | 144 | 98 | 105 | 118 | 118 | 135 | 151 | 61 | 61 | 238 | 148 | 137 | 143 | 447 | 484 | 143 | 35 | 120 | 133 | 390 | 368 | 171 | 189 | 185 | 137 | 1282 | 1243 | 155 | 156 | 207 | 215
BORON, DISSOLVED | mg/L | 2.27 | 2.73 | 2.36 | 2.78 | 0.89 | 1.16 | 2.2 | 2.3 | 1.01 | 2.68 | 1.06 | 1.03 | 0.79 | 0.88 | 1.16 | 1.03 | 0.65 | 0.75 | ND | ND | ND | ND | 0.09 | ND | ND | ND | ND | ND | ND | 1.71 | 0.22 | 0.29 | 1.83 | 1.37 | 0.05 | 0.66 | 0.69 | 0.64 | 2.93 | 2.77 | 0.08 | 0.07
BROMIDE, DISSOLVED | mg/L | 39 | 49 | 46 | 50 | 44 | 44 | 44.8 | 38 | 53.8 | 49 | 44.1 | 44 | 16.7 | 18 | 31 | 31 | 43.8 | 47 | 4.4 | 5.2 | 0.4 | ND | 3.3 | 2 | 0.2 | 0.5 | 2 | 1.3 | 6.6 | 44.3 | 0.9 | 1 | 42.1 | 33.6 | 0.6 | 11.5 | 4.2 | 3.5 | 49.6 | 47.6 | 0.2 | 0.2
CALCIUM | mg/L | 661 | 791 | 746 | 805 | 2440 | 2510 | 628 | 664 | 826 | 835 | 2470 | 2350 | 594 | 621 | 1040 | 1131 | 2980 | 2827 | 129 | 132 | 96 | 62 | 360 | 358 | 93 | 139 | 341 | 120 | 507 | 1900 | 149 | 142 | 1110 | 1500 | 64 | 413 | 209 | 234 | 878 | 1060 | 32 | 34
CALCIUM, DISSOLVED | mg/L | 646 | 771 | 732 | 781 | 2410 | 2480 | 666 | 664 | 844 | 879 | 2370 | 2360 | 617 | 627 | 1060 | 1100 | 3070 | 2810 | 142 | 138 | 99 | 63 | 363 | 356 | 92 | 140 | 347 | 114 | 520 | 1890 | 151 | 139 | 1140 | 1500 | 59 | 416 | 242 | 235 | 869 | 1100 | 35 | 33
CARBAMATES BY HPLC (EPA 531) | µg/L | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | ND | ND | ND | ND | ND | ND | ND | NA | ND | ND | ND | ND |  | ND |  | ND
CARBONATE AS CaCO3 | mg/L | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
CHLORIDE, DISSOLVED | mg/L | 14504 | 15276 | 16037 | 15580 | 14905 | 16346 | 11680 | 12136 | 14686 | 14964 | 16069 | 16456 | 5497 | 6266 | 9751 | 9587 | 14142 | 14177 | 271 | 272 | 120 | 90 | 1168 | 1152 | 57 | 167 | 814 | 387 | 1739 | 13589 | 261 | 251 | 12380 | 10546 | 220 | 3995 | 1199 | 1038 | 16519 | 10436 | 74 | 75
CHLORINATED PESTICIDES AND PCB (EPA 508) | µg/L | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | A | A | ND | ND | ND | A | A | A | ND | ND | ND | ND | ND |  | ND |  | ND
CHLORINE RESIDUAL, TOTAL (LABORATORY) | mg/L (H) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
COLIFORM, E. COLI (QUANTITRAY) | MPN/1OOml | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
COLIFORM, E. COLI (QUANTITRAY) - 18 HOUR | MPN/1OOml | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
COLIFORM, TOTAL (QUANTITRAY) | MPN/1OOml | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
COLIFORM, TOTAL (QUANTITRAY) - 18 HOUR | MPN/1OOml | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
COLOR, APPARENT (UNFILTERED) | CU | 4 | ND | ND | ND | 10 | 20 | ND | 7 | ND | ND | 6 | ND | 3 | ND | 4 | ND | 8 | ND | 7 | 8 | ND | ND | ND | 4 | 20 | 16 | 5 | ND | ND | ND | 3 | ND | ND | 7 | 11 | 16 | 175 | 60 | 6 | 14 | ND | 3
COPPER, TOTAL | µg/L | 62 | 52 | 61 | 80 | 40 | 52 | 42 | 78 | 62 | 90 | 56 | 76 | ND | 16 | 42 | 22 | 46 | 30 | 5 | ND | ND | ND | 13 | 4 | ND | ND | 8 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 10 | ND
DBCP & EDB | µg/L | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND |  | ND |  | ND
DIOXIN | pg/L | ND | N/A | ND | N/A | ND | N/A | RP | N/A | RP | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND |  | ND |  | ND
DIQUAT (EPA 549) | µg/L | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND |  | ND |  | ND
DISSOLVED OXYGEN (FIELD) | mg/L (H) | N/A | 2.64 | N/A | 3.34 | N/A | 0.08 | 4.7 | 3.56 | N/A | 3.85 | N/A | 0.225 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
DISSOLVED OXYGEN (LABORATORY) | mg/L (H) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
ENDOTHALL | µg/L | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND |  | ND |  | ND
FLUORIDE, DISSOLVED | mg/L | 0.3 | ND | ND | ND | ND | ND | 0.4 | ND | 0.5 | ND | ND | ND | ND | 0.1 | ND | ND | ND | 0.1 | ND | ND | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | ND | 0.1 | 0.1 | ND | ND | 0.1 | ND | 0.4 | ND | 0.3 | ND | ND | 0.4 | ND | ND | 0.3 | 0.3
GLYPHOSATE | µg/L | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND |  | ND |  | ND
HARDNESS (AS CaCO3) | mg/L | 5678 | 6439 | 6327 | 6606 | 10765 | 11338 | 5044 | 5109 | 6378 | 6520 | 12063 | 11140 | 3176 | 3321 | 5601 | 5740 | 11617 | 11021 | 561 | 540 | 367 | 229 | 1484 | 1429 | 393 | 565 | 1222 | 547 | 2044 | 9030 | 578 | 556 | 6080 | 6698 | 263 | 2057 | 1218 | 1206 | 6718 | 7296 | 133 | 138
HYDROXIDE | mg/L | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
IODIDE | µg/L | ND | * | ND | * | ND | * | ND | * | ND | * | ND | * | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 35 | 35 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 500 | 330 | ND | ND | ND | ND
IRON | µg/L | 25 | ND | ND | ND | 146 | 722 | ND | ND | ND | ND | 169 | 671 | ND | 169 | ND | ND | 77 | 223 | ND | 26 | ND | ND | 39 | 17 | 315 | 184 | ND | 33 | ND | ND | 104 | ND | ND | ND | 81 | 274 | 6964 | 6878 | 670 | 1540 | 10 | ND
IRON, DISSOLVED | µg/L | 15 | ND | 12 | ND | 118 | 726 | ND | ND | ND | ND | 142 | 684 | ND | 175 | ND | ND | 80 | 215 | ND | ND | ND | ND | ND | ND | 315 | 182 | ND | 26 | ND | ND | 99 | ND | ND | ND | 15 | ND | 6300 | 1400 | 667 | 1520 | ND | ND
KJEHLDAHL NITROGEN, DISSOLVED | mg/L | ND | * | ND | * | ND | * | ND | * | ND | * | ND | * | ND | ND | 1.8 | ND | 0.6 | ND | ND | ND | ND | ND | ND | ND | 1 | 0.7 | ND | 0.09 | ND | ND | ND | ND | ND | ND | ND | ND | 6.12 | 2.9 | 0.2 | 0.19 | ND | 0.11
LITHIUM | µg/L | 172 | 157 | 201 | 155 | 254 | 200 | 144 | 106 | 159 | 115 | 250 | 184 | 16 | 18 | 34 | 25 | 222 | 193 | 6 | 8 | 7 | 3 | 75 | 53 | 6 | 17 | 25 | 5 | 29 | 271 | ND | 6 | 132 | 132 | 49 | 157 | 23 | 20 | 289 | 296 | 38 | 39
MAGNESIUM | mg/L | 978 | 1080 | 1080 | 1120 | 1130 | 1230 | 844 | 838 | 1050 | 1080 | 1430 | 1280 | 411 | 430 | 730 | 708 | 1020 | 962 | 58 | 51 | 31 | 18 | 142 | 130 | 39 | 53 | 90 | 60 | 189 | 1040 | 50 | 49 | 801 | 717 | 25 | 249 | 169 | 151 | 1100 | 1130 | 13 | 13
MAGNESIUM, DISSOLVED | mg/L | 979 | 1080 | 1100 | 1110 | 1180 | 1230 | 797 | 859 | 1020 | 1160 | 1290 | 1310 | 421 | 437 | 752 | 681 | 979 | 969 | 62 | 54 | 31 | 18 | 135 | 128 | 37 | 49 | 83 | 58 | 192 | 1010 | 51 | 47 | 828 | 692 | 23 | 250 | 161 | 152 | 1090 | 1140 | 13 | 13
MANGANESE, DISSOLVED | µg/L | 41 | ND | 18 | ND | 440 | 1060 | ND | 170 | ND | ND | 259 | 1080 | ND | 248 | 113 | ND | 268 | 1220 | ND | ND | ND | ND | 340 | 645 | 2090 | 821 | 714 | 476 | 372 | 230 | ND | 76 | 353 | 642 | 283 | 759 | 4920 | 4830 | 1120 | 1410 | 247 | 186
MANGANESE, TOTAL | µg/L | 43 | ND | 19 | ND | 484 | 1100 | 58 | 154 | 14 | ND | 289 | 1060 | ND | 268 | 90 | ND | 276 | 1221 | ND | ND | ND | ND | 336 | 653 | 1880 | 810 | 750 | 500 | 372 | 232 | ND | 86 | 354 | 668 | 310 | 847 | 5140 | 4840 | 1160 | 1380 | 254 | 188
MBAS (SURFACTANTS) | mg/L | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
NITRATE AS NO3 | mg/L | 3 | 4 | 2 | 4 | 1 | 2 | 29 | 6 | 5 | 3 | ND | 2 | 20 | 10 | 4 | 3 | 1 | ND | 237 | 233 | 70 | 64 | 3 | 1 | ND | ND | 2 | 198 | 15 | 6 | 123 | 115 | 5 | 6 | 2 | 6 | ND | ND | 5 | 6 | 2 | 2
NITRATE+NITRITE AS N | mg/L | 0.7 | 0.9 | 1.1 | 1 | 0.4 | 0.6 | 6.5 | 1.5 | 1.2 | 0.8 | 0.1 | 0.6 | 5.3 | 2.3 | 1 | 0.9 | 0.2 | 0.1 | 54 | 52.7 | 16.2 | 14.6 | 0.8 | 0.4 | 0.5 | 0.5 | 0.7 | 44.8 | 3.4 | 1.4 | 28.2 | 26.8 | 1.5 | 1.4 | 0.7 | 1.3 | 2.5 | 1.2 | 1.2 | 1.3 | 0.9 | 0.8
NITRITE AS NO2-N, DISSOLVED | mg/L | ND | ND | 0.6 | ND | 0.2 | ND | ND | ND | ND | ND | ND | ND | ND | 0.1 | ND | 0.1 | ND | 0.1 | ND | 0.1 | 0.3 | 0.3 | ND | 0.1 | 0.5 | 0.1 | 0.2 | 0.1 | ND | ND | 0.4 | 0.8 | 0.4 | ND | 0.3 | ND | 2.5 | 1.2 | ND | ND | 0.3 | 0.3
ODOR THRESHOLD AT 60 C | TON | 1 | 1 | 1 | 2 | 1 | 2 | 5 | 2 | 3 | 1 | 3 | 3 | 4 | 14 | 1 | 1 | 3 | 1 | 2 | 10 | 2 | 1 | 3 | 2 | 2 | 1 | 1 | 2 | 2 | 1 | 2 | 1 | 1 | 1 | 1 | 2 | 2 | 5 | 1 | 2 | 1 | 2
OIL & GREASE (HEM) | mg/L | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
o-PHOSPHATE-P | mg/L | 0.07 | 0.05 | 0.07 | 0.09 | 0.03 | 0.06 | 0.18 | 0.14 | 0.05 | 0.06 | 0.06 | 0.04 | 0.06 | 0.09 | ND | 0.06 | 0.06 | 0.04 | 0.05 | 0.12 | 0.06 | 0.12 | 0.04 | 0.05 | 1.55 | 0.32 | 0.05 | 0.035 | 0.016 | 0.05 | 0.1 | 0.13 | 0.06 | 0.04 | 0.06 | 0.04 | 1.34 | 0.28 | 0.06 | 0.04 | 0.06 | 0.13
pH (FIELD TEST) | pH | 7.15 | 7.87 | 7.02 | 7.74 | 6.72 | 7.24 | 7.25 | 7.27 | 6.89 | 7.05 | 6.55 | 6.84 | 6.77 | 6.91 | 6.78 | 6.78 | 6.65 | 6.56 | 6.46 | 6.63 | 7.23 | 7.44 | 7 | 7.18 | 7.07 | 7.43 | 7.24 | 7.05 | 7.17 | 6.77 | 7.13 | 6.99 | 6.67 | 6.92 | 7.33 | 8.17 | 7.06 | 7.04 | 6.84 | 7.03 | 7.44 | 8.03
pH (LABORATORY) | pH (H) | 7.2 | 7.5 | 7 | 7.4 | 7.1 | 7.1 | 7.2 | 7.5 | 7.2 | 7.4 | 6.9 | 7.2 | 7 | 7.2 | 7.1 | 7.2 | 7 | 7.1 | 6.7 | 7.1 | 7.3 | 7.5 | 7.5 | 7.4 | 7.1 |  | 7.4 | 7.3 | 7.2 | 6.9 | 7.4 | 7.2 | 7.2 | 7.2 | 7.6 | 8.2 | 7.1 | 7.1 | 6.9 | 6.9 | 7.5 | 7.8
PHENOXY ACID HERBICIDES (515.3) | µg/L | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND |  | ND |  | ND
PHOSPHORUS, DISSOLVED TOTAL | mg/L | 0.05 | 0.04 | 0.09 | 0.08 | 0.04 | 0.03 | 0.12 | 0.13 | ND | 0.06 | 0.04 | ND | 0.06 | 0.07 | ND | 0.06 | 0.11 | 0.14 | 0.08 | 0.08 | 0.06 | 0.12 | 0.04 | 0.04 | 1.38 | 0.31 | 0.06 | 0.04 | 0.017 | 0.02 | 0.11 | 0.07 | 0.07 | ND | 0.06 | ND | 1.4 | 0.16 | 0.06 | ND | 0.12 | 0.029
POTASSIUM | mg/L | 228 | 247 | 201 | 209 | 60 | 61 | 168 | 157 | 197 | 214 | 64.4 | 58 | 26 | 30.2 | 46 | 43.9 | 51.2 | 46.2 | 2 | 3.1 | 3.4 | 2.2 | 7.8 | 6.7 | 7.6 | 6.4 | 7.1 | 5.9 | 10 | 57 | 4.1 | 5 | 108 | 55 | 5.1 | 41 | 14 | 13 | 197 | 168 | 3.5 | 6.1
POTASSIUM, DISSOLVED | mg/L | 224 | 244 | 197 | 207 | 59 | 60.9 | 157 | 161 | 197 | 232 | 55.7 | 59.6 | 28 | 31.5 | 50 | 43.3 | 49.1 | 46.3 | 2.4 | 3 | 3.6 | 2.2 | 7.1 | 6.6 | 7.2 | 7 | 8 | 5.5 | 10 | 55 | 4.3 | 4.8 | 111 | 50 | 4.6 | 42 | 12.8 | 13 | 196 | 167 | 3.6 | 6
QC RATIO TDS/SEC |  | 0.68 | 0.67 | 0.7 | 0.67 | 0.73 | 0.66 | 0.68 | 0.68 | 0.69 | 0.69 | 0.74 | 0.66 | 0.7 | 0.68 | 0.68 | 0.64 | 0.72 | 0.74 | 0.67 | 0.64 | 0.6 | 0.64 | 0.69 | 0.65 | 0.61 | 0.63 | 0.67 | 0.68 | 0.68 | 0.69 | 0.62 | 0.63 | 0.69 | 0.7 | 0.56 | 0.58 | 0.6 | 0.58 | 0.66 | 0.69 | 0.59 | 0.61
REG. ORG. COMPOUNDS (EPA 525) | µg/L | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | N/A | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND |  | ND |  | ND
SETTLEABLE SOLIDS | mL/L | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA |  | NA | NA | NA | NA
SILICA AS SiO2, DISSOLVED | mg/L | 20 | 19 | 22 | 21 | 33 | 32 | 19 | 19 | 21 | 18 | 32 | 30 | 27 | 24 | 30 | 27 | 36 | 31 | 39 | 38 | 35 | 32 | 45 | 41 | 34 | 44 | 44 | 37 | 30 | 35 | 37 | 40 | 30 | 33 | 45 | 33 | 43 | 40 | 35 | 30 | 45 | 44
SODIUM | mg/L | 7306 | 7211 | 8011 | 7381 | 5760 | 5913 | 5340 | 5632 | 7232 | 6590 | 6960 | 5620 | 2579 | 2399 | 4079 | 3685 | 4286 | 4092 | 120 | 116 | 71 | 51 | 161 | 131 | 79 | 140 | 77 | 124 | 338 | 6834 | 262 | 245 | 6106 | 5310 | 148 | 2192 | 732 | 691 | 8407 | 8224 | 68 | 75
SODIUM, DISSOLVED | mg/L | 7500 | 7480 | 8320 | 7920 | 6150 | 6340 | 5550 | 6260 | 6930 | 7670 | 6110 | 6180 | 2750 | 2500 | 4320 | 3490 | 4730 | 4090 | 131 | 120 | 76 | 51 | 136 | 128 | 79 | 141 | 78 | 119 | 342 | 6540 | 265 | 239 | 6270 | 4950 | 135 | 2290 | 698 | 692 | 8430 | 8240 | 68 | 74
SPECIFIC CONDUCTANCE (E.C) | µmhos/cm | 39090 | 40840 | 43960 | 42510 | 40120 | 43440 | 34180 | 34300 | 41090 | 41040 | 44020 | 43570 | 17050 | 18800 | 26250 | 27200 | 38000 | 37390 | 1752 | 1735 | 1106 | 714 | 3775 | 3729 | 989 | 1545 | 2758 | 1768 | 5650 | 38800 | 2036 | 1935 | 35020 | 29320 | 1045 | 12190 | 5330 | 5190 | 44090 | 44660 | 624 | 617
SPECIFIC CONDUCTANCE (E.C) (FIELD) | µmhos/cm | 39747 | 41557 | 43788 | 42426 | 40882 | 43249 | 33456 | 33798 | 42340 | 40642 | 41740 | 43223 | 16917 | 18376 | 26779 | 27703 | 5750 | 37532 | 1828 | 1746 | 962 | 796 | 3961 | 3968 | 869 | 1531 | 2859 | 1762 | 5507 | 39065 | 2004 | 1932 | 35040 | 29888 | 1113 | 15312 | 5384 | 5255 | 44462 | 45724 | 574 | 658
STRONTIUM, DISSOLVED | µg/L | 7995 | 9084 | 8689 | 9434 | 15666 | 16477 | 7619 | 7287 | 9500 | 9458 | 16370 | 16228 | 5208 | 5455 | 9637 | 9864 | 17499 | 17148 | 1231 | 1288 | 630 | 435 | 2777 | 2834 | 561 | 761 | 1826 | 1327 | 3689 | 12676 | 868 | 855 | 8504 | 8507 | 470 | 3536 | 3064 | 1861 | 8148 | 8301 | 273 | 260
SULFATE | mg/L | 1840 | N/A | 2070 | N/A | 1950 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 1700 | N/A | N/A | N/A | N/A | N/A | 58 | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
SULFATE, DISSOLVED | mg/L | N/A | 2008 | N/A | 2048 | N/A | 2148 | 1533 | 1605 | 1960 | 1967 | 2058 | 2158 | 716 | 807 | 1184 | 1205 | N/A | 1796 | 197 | 192 | 110 | 67 | N/A | 31 | 87 | 175 | 85 | 61 | 176 | 1882 | 258 | 239 | 1743 | 1430 | 32 | 541 | 210 | 220 | 2286 | 2207 | 25 | 23
TEMPERATURE | °C | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
TEMPERATURE, (FIELD) | °C | 18.8 | 17.64 | 17.2 | 17.89 | 19.2 | 20.02 | 17.5 | 19.17 | 16.3 | 18.74 | 19.6 | 20.22 | 17.7 | 18.1 | 18.4 | 18.3 | 19.9 | 19.8 | 16.7 | 18.1 | 16.97 | 18.2 | 21.3 | 21.4 | NA | 16.8 | 10.6 | 18.2 | 18.4 | 19.7 | 16.83 | 17 | 17.17 | 17.2 | 21.2 | 19.2 | 17.3 | 17.1 | 17.2 | 17.3 | 21.2 | 20.2
TOTAL DISS. SOLIDS | mg/L | 26600 | 27500 | 30900 | 28300 | 29100 | 28700 | 23400 | 23300 | 28500 | 28300 | 32600 | 28600 | 11900 | 12800 | 17900 | 17500 | 27500 | 27600 | 1166 | 1117 | 663 | 454 | 2616 | 2437 | 608 | 966 | 1840 | 1200 | 3832 | 26700 | 1260 | 1214 | 24000 | 20500 | 583 | 7100 | 3204 | 2997 | 29000 | 30600 | 366 | 377
TOTAL SUSP. SOLIDS | mg/L | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | NA | NA | NA |  |  |  | NA | NA | NA | NA | NA | NA
TURBIDITY | NTU | 0.1 | 0.15 | 0.1 | 0.1 | 1.8 | 0.15 | 0.15 | 0.24 | 0.1 | 0.16 | 1 | 0.3 | 0.3 | 0.2 | 0.25 | 0.05 | 0.65 | 0.15 | 0.4 | 0.75 | ND | ND | 0.25 | 0.25 | 2.6 | 0.7 | 0.2 | 0.3 | 0.2 | 0.2 | 0.1 | 0.15 | 0.1 | 0.2 | 0.55 | 1.9 | 55 | 50 | 1.3 | 3 | 0.1 | 0.5
TURBIDITY (FIELD) | NTU | 0.28 | 0.43 | 0.41 | 0.35 | 0.65 | 0.69 | 0.96 | 0.55 | 0.42 | 0.21 | 0.38 | 0.87 | 0.52 | 0.17 | 0.71 | 0.84 | 0.76 | 0.53 | 1.31 | 1.26 | 0.47 | 0.45 | 0.71 | 0.87 | 0.62 | 0.7 | 0.59 | 0.7 | 0.88 | 0.85 | 0.92 | 1 | 0.56 | 1 | 2.48 | 1 | 0.82 | 0.2 | 0.29 | 0.3 | 0.86 | 0.7
VOLATILE ORG. COMPOUNDS (524) | µg/L | ND | N/A | ND | N/A | ND | N/A | RP | N/A | ND | N/A | ND | N/A | RP | N/A | ND | N/A | RP | N/A | RP | N/A | ND | N/A | RP | N/A | ND | ND | ND | ND | A | ND | A | A | ND | ND | ND | ND | A |  | ND |  | ND
ZINC, TOTAL | µg/L | 413 | ND | ND | ND | ND | ND | 312 | ND | 297 | ND | ND | ND | ND | 108 | 211 | 107 | ND | ND | 43 | ND | 40 | ND | 51 | ND | ND | ND | 24 | ND | ND | ND | 636 | ND | 340 | ND | ND | ND | ND | ND | ND | ND | 22 | ND